## Total
Private | Public
10.0.2.2 | 103.23.156.10
10.0.3.2 | 103.23.156.134
10.1.1.0/24 | 103.23.156.138
10.10.2.1 | 103.23.156.3
10.10.3.1 | 103.23.156.3
10.10.51.0/24 | 103.23.156.42
10.10.52.0/24 | 116.193.74.219
10.199.64.10 | 118.102.0.94
10.30.63.0/24 | 20.1.1.1
10.7.0.0/24 | 20.1.1.2
10.73.2.0/24 | 27.72.193.13
10.74.0.2 | 49.213.64.10
10.75.0.0/24 | 49.213.64.13
10.78.1.1 | 61.28.224.18
10.78.2.0/24 | 61.28.224.34
10.80.0.39 | 61.28.224.36
10.80.1.0/24
10.80.103.0/24
10.80.106.130
10.80.2.0/24
10.80.3.0/24
10.80.4.0/24
10.80.5.0/24
10.80.6.0/24
10.80.7.0/24
10.80.8.100
10.90.0.0/24
10.90.1.0/24
10.90.2.0/24
10.90.3.0/24
10.90.4.0/24
10.90.5.0/24
10.90.6.0/24
10.90.7.0/24
10.90.8.100
10.90.9.0/24

## DC.SYS
No. | SERVER NAME | DESCRIPTION | TYPE | OS | VERSION | SERIAL | ASSET CODE | RACK | CHASISS | BAY /U | IP Console | NIC 1 | VLAN | NIC 2 | VLAN2 | Login IP | Login protocol | Login method | Status | Owner | Priority level | Access Group | Hardware Monitor | Zabbix Monitor | Splunk | Syslog
1 | DC_QTSC_DNS_SLAVE | DNS backup, use for non-VNG customers | Virtual | Linux | CentOS 7.3 | Virtual |  | ESX2 |  |  |  | 61.28.224.18 | 101 | 10.73.2.45 | 703 | 10.73.2.45 | SSH-22 | PIN+OTP | In Used | SYS Manager | 3 | DNS | Virtual | YES | YES | YES
2 | DC_QTSC_DNS_MASTER | DNS primary, use for non-VNG customers | Virtual | Linux | CentOS 7.3 | Virtual |  | ESX3 |  |  |  | 61.28.224.34 | 101 | 10.73.2.31 | 703 | 10.73.2.31 | SSH-22 | PIN+OTP | In Used | SYS Manager | 3 | DNS | Virtual | YES | YES | YES
3 | DC_QTSC_ACS_BK | ACS Secondary | Virtual | Windows | WIN2K3 ENT SP2 32bit | Virtual |  | ESX1 | [5 empty] | 10.73.2.249 | 703 | 10.73.2.249 | Remote desktop | Password | In Used | SYS Manager | 3 | ACS System | Virtual | YES | YES | YES
4 | DC_QTSC_ACS_PRI | ACS Primary | Physical | Windows | WIN2K3 ENT SP1 32bit | DGLXG1S | SD11070227 | 1AC41 | 10.70.0.81 - U9 | 1 |  |  |  | 10.73.2.252 | 703 | 10.73.2.252 | Remote desktop | Password | In Used | SYS Manager | 3 | ACS System | Not support ¦ Old server | YES | YES | YES
5 | DC_QTSC_ANTIVIRUS_PORTAL | ClamAV server | Virtual | Linux | CentOS 6.9 | Virtual |  | ESX2 | [5 empty] | 10.73.2.111 | 703 | 10.73.2.111 | SSH-22 | PIN+OTP | In Used | SYS Manager | 3 | Antivirus | Virtual | YES | YES | NO
6 | DC_QTSC_ARBOR | Install vSP and UNLab, using for NOC. NOC handles admin priviledges | Physical | VMware | ESXi | SGH510Y2FV | SH03150179 | 1AC41 |  | 22 |  |  |  | 10.73.2.100 | 703 | 10.73.2.100 | SSH-22 | Terminal | In Used | SYS Manager | 3 | LAB_TEST | Not monitor ¦ Test server | YES | White list | YES
7 | DC_QTSC_BACKUP_CENTRAL | Backup data for all servers, site QTSC | Physical | Linux | CentOS 6.9 64bit | SGH049XHP4 | SH01110006 | 1AC33 |  | 22 |  |  |  | 10.73.2.5 | 703 | 10.73.2.5 | SSH-22 | Pri/Pub key | In Used | SYS Manager | 3 | Backup | Monitored | YES | YES | YES
8 | DC_QTSC_BACKUP_OFFSITE_HL | Backup for server backup HL | Virtual | Linux | CentOS 6.8 | Virtual |  | ESX2 | [5 empty] | 10.73.2.17 | 703 | 10.73.2.17 | SSH-22 | Password local | In Used | SYS Manager | 3 | Backup | Virtual | YES | YES | NO
9 | DC_QTSC_DE_ACCESS_1 | Device Expert for access devices, site QTSC, active | Virtual | Windows | WIN2K3 ENT SP2 32bit | Virtual |  | ESX1 | [5 empty] | 10.73.2.104 | 703 | 10.73.2.104 | Remote desktop | Password | In Used | SYS Manager | 3 | Device Expert | Virtual | YES | YES | YES
10 | DC_QTSC_DE_ACCESS_2 | Device Expert for access devices, site QTSC, standby | Physical | Windows | WIN2K3 ENT SP2 64bit | 18NRJ1S | SD11070104 | 1AC41 | 10.70.0.81 - U9 | 8 |  |  |  | 10.73.2.105 | 703 | 10.73.2.105 | Remote desktop | Password | In Used | SYS Manager | 3 | Device Expert | Not support ¦ Old server | YES | YES | YES
11 | DC_QTSC_DE_CORE_1 | Device Expert for core devices, site QTSC, active | Virtual | Windows | WIN2K3 STD SP1 32bit | Virtual |  | ESX1 | [5 empty] | 10.73.2.3 | 703 | 10.73.2.3 | Remote desktop | Password | In Used | SYS Manager | 3 | Device Expert | Virtual | YES | YES | YES
12 | DC_QTSC_DE_CORE_2 | Device Expert for core devices, site QTSC, standby | Physical | Windows | WIN2K3 ENT SP2 64bit | 8FJWG1S | SD11070244 | 1AC41 | 10.70.0.81 - U9 | 9 |  |  |  | 10.73.2.4 | 703 | 10.73.2.4 | Remote desktop | Password | In Used | SYS Manager | 3 | Device Expert | Not support ¦ Old server | YES | YES | YES
13 | DC_QTSC_ESX_1 | DC_QTSC_BACKUP_OFFSITE_HL, DC_TEST_LINUX, Backup for ESX2 | Physical | VMware | ESXi5.5 | 99G3060 | QTS-SVR0017 | 1AC33 |  | 11 | NA |  |  | 10.73.2.241 | 703 | 10.73.2.241 | vSphere Client | root | In Used | SYS Manager | 3 | VMware | Not support | Not support | White list | YES
14 | DC_QTSC_ESX_2 | DC_QTSC_ACS_BK, DC_QTSC_BACKUP_FARM, DC_QTSC_DE_ACCESS_1, EASY_ACCESS_CONTROL, FAC_CHILLER, FAC_BMS, vCENTER | Physical | VMware | ESXi5.5 | SGH602XA4B | SH02160110 | 1AC41 |  | 5 | 10.70.45.183 |  |  | 10.73.2.13 | 703 | 10.73.2.13 | vSphere Client | root | In Used | SYS Manager | 3 | VMware | Not support | Not support | White list | NO
15 | DC_QTSC_ESX_3 | DC_QTSC_TERMINAL_PRI, DC_QTSC_DNS_MASTER | Physical | VMware | ESXi5.5 | 4JCGD2S | SD07120016 | 1AC33 |  | 15 | 10.70.80.25 |  |  | 10.73.2.11 | 703 | 10.73.2.11 | vSphere Client | root | Provisioning | SYS Manager | 3 | VMware | Not support | Not support | White list | NO
16 | DC_QTSC_KB | Knownledge base server | Physical | Linux | CentOS 6.9 | 9B1RJ1S | SD11070098 | 1AC41 | 10.70.0.81 - U9 | 5 |  |  |  | 10.73.2.40 | 703 | 10.73.2.40 | SSH-22 | PIN+OTP | In Used | SYS Manager | 3 | Knowledge Base | Monitored | YES | YES | YES
17 | DC_QTSC_LINOTP_1 | LINOTP server 1 | Physical | Linux | CentOS 6.5 | BZDW51602175 | SN11070060 | 1AC33 |  | 19 |  | 10.75.0.150 | 705 | 10.73.2.150 | 703 | 10.73.2.150 | SSH-22 | PIN+OTP | In Used | SYS Manager | 3 | OTP server | Not support ¦ Intel server | YES | YES | YES
18 | DC_QTSC_LINOTP_2 | LINOTP server 2 | Physical | Linux | CentOS 6.9 | BZDW51602151 | SN11070054 | 1AC33 |  | 29 |  | 10.75.0.151 | 705 | 10.73.2.151 | 703 | 10.73.2.151 | SSH-22 | PIN+OTP | In Used | SYS Manager | 3 | OTP server | Not support ¦ Intel server | YES | YES | YES
19 | DC_QTSC_MON_ACCESS | Cacti, Nagios, Nconf, CheckMK for access devices | Physical | Linux | CentOS 6.9 | SGH049XHNV | SH01110012 | 1AC33 |  | 20 | 10.70.40.54 |  |  | 10.78.2.2 | 782 | 10.78.2.2 | SSH-22 | PIN+OTP | In Used | SYS Manager | 3 | Cacti | Monitored | YES | YES | NO
20 | DC_QTSC_MON_CORE_BK | Backup monitoring system : Cacti, Nagios, Nconf, CheckMK | Physical | Linux | CentOS 7.3 | SGH940XNAY | SH10090038 | 1AC42 |  | 5 | 10.70.40.162 |  |  | 10.78.2.12 | 782 | 10.78.2.12 | SSH-9922 | PIN+OTP | In Used | SYS Manager | 3 | Cacti | Monitored | YES | YES | NO
21 | DC_QTSC_MON_CORE_PRI | Monitoring system : Cacti, Nagios, Nconf, CheckMK | Physical | Linux | CentOS 5.8 32bit | 99V3822 | QTS-SVR0011 | 1AC33 |  | 13 |  | 10.10.51.101 | 951 | 61.28.224.36 10.73.2.1 | 101 703 | 10.73.2.1 | SSH-22 | PIN+OTP | In Used | SYS Manager | 3 | Cacti | Monitored | YES | YES | YES
22 | DC_QTSC_NTOP_AGG | NTOP for CORE devices, site QTSC | Physical | Linux | CentOS 7.3 | SGH93361WD | SH08090005 | 1AC40 |  | 34 | 10.70.40.152 |  |  | 10.30.63.3 | 363 | 10.30.63.3 | SSH-9922 | Pri/Pub key | In Used | SYS Manager | 3 | Network Analysis | Monitored | YES | YES | NO
23 | DC_QTSC_NTOP_CORE | NTOP for AGG devices, site QTSC | Physical | Linux | CentOS 6.9 | SGH940XMCL | SH10090059 | 1AC40 |  | 33 | 10.70.41.252 |  |  | 10.30.63.4 | 363 | 10.30.63.4 | SSH-9922 | Pri/Pub key | In Used | SYS Manager | 3 | Network Analysis | Monitored | YES | YES | NO
24 | DC_QTSC_SYSLOG_BK | Syslog + NTP server, site QTSC, primary | Physical | Linux | CentOS 6.9 | SGH93361WB | SH08090001 | 1AC41 |  | 7 | 10.70.40.39 |  |  | 10.73.2.240 | 703 | 10.73.2.240 | SSH-22 | PIN+OTP | In Used | SYS Manager | 3 | Syslog | Monitored | YES | YES | NO
25 | DC_QTSC_SYSLOG_PRI | Syslog + NTP server, site QTSC, backup | Physical | Linux | CentOS 6.9 | SGH9264C0A | SH07090012 | 1AC41 |  | 6 | 10.70.40.36 |  |  | 10.73.2.8 | 703 | 10.73.2.8 | SSH-22 | PIN+OTP | In Used | SYS Manager | 3 | Syslog | Monitored | YES | YES | NO
26 | DC_QTSC_TERMINAL_PRI | Server terminal primary, site QTSC | Virtual | Linux | CentOS 7.3 | Virtual |  | ESX3 | [5 empty] | 10.73.2.74 | 703 | 10.73.2.74 | SSH-9922 | PIN+OTP | In Used | SYS Manager | 3 | Terminal | Virtual | YES | YES | YES
27 | DC_QTSC_TERMINAL_BK | Server terminal backup, site QTSC | Physical | Linux | CentOS 6.9 | SGH049XHPE | SH01110007 | 1AC33 |  | 17 | 10.70.41.11 | 118.102.0.94 |  | 10.73.2.75 | 703 | 10.73.2.75 | SSH-9922 | PIN+OTP | In Used | SYS Manager | 3 | Terminal | Monitored | YES | YES | NO
28 | DC_QTSC_TERMINAL_LAB | Terminal for accessing lab devices | Physical | Linux | CentOS 5.3 | BZDW5160229B | SN11070012 | 1AC41 |  | 2 |  | 116.193.74.219 |  | 10.78.1.1 |  | 10.78.1.1 | SSH-9922 | Pri/Pub key | In Used | SYS Manager | 3 | LAB_TEST | Not support ¦ Intel server | Test server => Bypass | White list | NO
29 | DC_QTSC_TEST_2 | Test server. Handover for TuanP | Physical | Linux | CentOS 6.8 | SGH940XN8B | SH10090027 | 1AC33 |  | 30 | [8 empty] | In Used | SYS Manager | 3 | LAB_TEST | Not monitor ¦ Test server | Test server => Bypass | White list | NO
30 | DC_QTSC_VCENTER | VMWare, manage virtual servers : ACS Slave, DC_SYS_BACKUP_FARM, DEVICE_EXPERT ACCESS, DEVICE_EXPERT CORE, FAC-BMS, FAC-CHILLER, SYS-TERMINALXPSERVER, VCENTER | Virtual | Windows | VCenter | Virtual |  | ESX1 | [5 empty] | 10.73.2.14 | 703 | 10.73.2.14 | vSphere Client | root | In Used | SYS Manager | 3 | VMware | Virtual | Not support | YES | NO
31 | DC_QTSC_VPN_1 | VPN server 1, site QTSC | Physical | Linux | CentOS 5.8 | G9FGD2S | SD07120003 | 1AC33 |  | 32 | 10.70.80.12 | 49.213.64.10 20.1.1.1 |  | 10.0.3.2 |  | 49.213.64.10 | SSH-9922 | Pri/Pub key | In Used | SYS Manager | 3 | VPN | Not support ¦ IP public only | YES | YES | NO
32 | DC_QTSC_VPN_2 | VPN server 2, site QTSC | Physical | Linux | CentOS 6.3 | 99R2485 | SI10080171 | 1AC33 |  | 31 |  | 20.1.1.2 49.213.64.13 |  | 10.0.2.2 |  | 49.213.64.13 | SSH-9922 | Pri/Pub key | In Used | SYS Manager | 3 | VPN | Not support ¦ IBM server | YES | YES | NO
1 | DC_FAC_ACCESS_CONTROL | Access control | Virtual | Windows | WINXP | Virtual |  | ESX1 |  |  |  | 10.73.2.30 | 703 | 10.10.51.171 | 951 | 10.73.2.30 | Remote desktop | Password | In Used | SYS Manager | 3 | FAC server | Virtual |  | OK
2 | DC_FAC_BMS | SITESCAN | Virtual | Windows | WIN2K3 ENT SP2 32bit | Virtual |  | ESX1 |  |  |  | 10.73.2.222 | 703 | 10.10.51.139 | 951 | 10.73.2.222 | Remote desktop | Password | In Used | SYS Manager | 3 | FAC server | Virtual |  | OK
3 | DC_FAC_CAM_STORAGE_1 | Camera storage 1 | Physical | Windows | Windows 2008 Server | SGH002XKTY | SH01100010 | 1BA32 |  | 6 |  | 10.10.52.7 | 4017 |  |  | 10.10.52.9 | Remote desktop | Password | In Used | SYS Manager | 3 | FAC server | Not support ¦ Agent not support OS version |  | WhiteList
4 | DC_FAC_CAM_STORAGE_2 | Camera storage 2 | Physical | Windows | Windows 2008 Server | SGH009X6M9 | SH03100004 | 1BA32 |  | 8 |  | 10.10.52.8 | 4017 |  |  | 10.10.52.8 | Remote desktop | Password | In Used | SYS Manager | 3 | FAC server | Not support ¦ Agent not support OS version |  | WhiteList
5 | DC_FAC_CAM_STORAGE_3 | Camera storage 3 | Physical | Windows | Windows 2008 Server | SGH940XMDL | SH10090067 | 1BA32 |  | 10 |  | 10.10.52.9 | 4017 |  |  | 10.10.52.7 | Remote desktop | Password | In Used | SYS Manager | 3 | FAC server | Not support ¦ Agent not support OS version |  | WhiteList
6 | DC_FAC_CHILLER | Celltraq-Tracer summit | Virtual | Windows | WIN2K3 ENT SP2 32bit | Virtual |  | ESX1 |  |  |  | 10.10.51.200 | 951 | 10.73.2.33 | 703 | 10.73.2.33 | Remote desktop | Password | In Used | SYS Manager | 3 | FAC server | Virtual |  | OK
7 | DC_FAC_SITESCAN_BK | CentOS 5.3 | Virtual | Windows | Virtual | Virtual |  | ESX1 |  |  |  | 10.73.2.12 | 703 | 10.10.51.174 | 951 | 10.73.2.12 | SSH-9922 | PIN+OTP | In Used | SYS Manager | 3 | FAC server | Virtual
1 | DC_HL_MON_PRI | Monitoring system site HL : CACTI, backup core devices, Syslog, NTP | Physical | Linux | CentOS 5.8 32bit | BK2RJ1S | SD11070152 | AO04 |  | 34 | NA | 103.23.156.3 | 100 | 10.7.0.2 | 700 | 10.7.0.2 | SSH-9922 | PIN+OTP | In Used | TamNT | 3 |  |  | OK
2 | DC_HL_TERMINAL | Terminal server, site HL | Physical | Linux | CentOS 5.0 | 7K2RJ1S | SD11070155 | A010 |  | 39 | NA | 10.1.64.2 (Avaya) 27.72.193.13 10.199.64.10 103.23.156.3 | Avaya 12 164 100 | 10.7.0.1 | 700 | 103.23.156.5 | SSH-9922 | PIN+OTP | In Used | TamNT | 3 |  |  | OK
3 | DC_HL_ACS_BK | ACS server backup | Physical | Windows | WIN2K3 ENT SP2 64bit | 87NRJ1S | SD11070078 | AL09 | 10.73.0.17 | 1 |  |  |  | 10.7.0.17 | 700 | 10.7.0.17 | Remote desktop | Password | In Used | TamNT | 3 |  |  | OK
4 | DC_HL_ACS_PRI | ACS server primary | Physical | Windows | WIN2K3 ENT SP2 64bit | 6HLXG1S | SD11070307 | AL09 | 10.73.0.17 | 3 |  |  |  | 10.7.0.16 | 700 | 10.7.0.16 | Remote desktop | Password | In Used | TamNT | 3 |  |  | OK
5 | DC_HL_DE_2 | Device Expert 2, backup config all devices site HL, STANDBY state | Physical | Windows | WIN2K3 ENT SP2 64bit | 593RJ1S | SD11070112 | AL09 | 10.73.0.17 | 5 |  |  |  | 10.7.0.20 | 700 | 10.7.0.20 | Remote desktop | Password | In Used | TamNT | 3 |  |  | OK
6 | DC_HL_DE_1 | Device Expert 1, backup config all devices site HL, ACTIVE state | Physical | Windows | WIN2K3 ENT SP2 64bit | 293RJ1S | SD11070070 | AL09 | 10.73.0.17 | 4 |  |  |  | 10.7.0.19 | 700 | 10.7.0.19 | Remote desktop | Password | In Used | TamNT | 3 |  |  | OK
7 | DC_HL_VPN_1 | VPN server 1, site HL | Physical | Linux | CentOS 6.2 | SGH940XN9R | SH10090044 | AO07 |  | 12 | 10.73.1.168 | 103.23.156.134 | 100 | 10.10.3.1 10.1.1.11 |  | 103.23.156.134 | SSH-9922 | Pri/Pub Key | In Used | TamNT | 3 |  |  | OK (public)
8 | DC_HL_VPN_2 | VPN server 2, site HL | Physical | Linux | CentOS 6.2 | SGH940XN9D | SH10090040 | AO07 |  | 3 | 10.73.1.245 | 103.23.156.138 | 100 | 10.1.1.10 10.10.2.1 |  | 103.23.156.138 | SSH-9922 | Pri/Pub Key | In Used | TamNT | 3 |  |  | OK (public)
9 | DC_HL_NTOP | NTOP | Physical | Linux | N/A | SGH940XNAN | SH10090034 | AO04 |  | 27 | 10.73.1.238 | 103.23.156.42 | 100 |  |  | 103.23.156.42 | SSH-9922 | Pri/Pub Key | In Used | TamNT | 3
10 | DC_HL_MON_BK | Backup monitoring system site HL : CACTI, backup core devices, Syslog, NTP | Physical | Linux | CentOS 7.3 | SGH940XN9L | SH10090014 | AO04 |  | 28 | 10.73.1.239 | 103.23.156.10 | 100 | 10.7.0.15 | 700 | 10.7.0.15 | SSH-9922 | PIN+OTP | In Used | TamNT | 3 |  |  | OK
11 | DC_HL_BACKUP_CENTRAL | Server backup data onsite for HL and offsite for QTSC | Physical | Linux | CentOS 7.3 | SGH201X70P | SH01120015 | AO04 |  | 4 | 10.73.1.147 |  |  | 10.7.0.14 | 700 | 10.7.0.14 | SSH-9922 | Pri/Pub Key | In Used | TamNT | 3
| DC_SYS_ACL_SLAVE |  |  |  | CentOS 6.4 64bit | [6 empty] | 10.75.0.9 | 705 | 10.73.2.27 | 703
| DC_SYS_ACLTool_WS1 |  |  |  | CentOS 6.4 64bit | [6 empty] | 10.73.2.22 | 703 | 10.75.0.8 | 705
| DC_SYS_DCIM |  |  |  | CentOS 6.4 64bit | [6 empty] | 10.73.2.24 | 703 | 10.75.0.3,10 | 705
| DC_SYS_DEV |  |  |  | CentOS 6.4 64bit | [6 empty] | 10.73.2.26 | 703 | 10.75.0.4 | 705
| DC_SYS_DCIM_SLAVE |  |  |  | CentOS 6.4 64bit | [8 empty] | 10.75.0.9 | 705
Note on C41: cấu hình backup cho core device, chưa sync qua server backup Hòa Lạc -Tam Nguyen Thanh

## DC.NOC
No. | Serial | IP Address | Name | Chassis model | Site | Rack | Group asset
1 | JN1263A53RFA | 10.73.2.110, 10.73.2.113 | QTSC_PRI_CORE_EX9214_01 | EX9214 | QTSC | 1AC37 | EX9214 core
2 | JN1264D38RFA | 10.73.2.120, 10.73.2.121 | QTSC_PRI_CORE_EX9214_02 | EX9214 | QTSC | 1AC38 | EX9214 core
3 | JN1218FB3AFA | 10.73.2.220 | QTSC_PUB_CORE_MX960_02 | Juniper MX960 | QTSC | 1AC36 | MX960 Core
4 | JN12148B5AFA | 10.73.2.221 | QTSC_PUB_CORE_MX960_01 | Juniper MX960 | QTSC | 1AC34 | MX960 Core
5 | D4911 | 10.73.2.234 | QTSC_QTE_MX80_02 | Juniper MX80 | QTSC | 1AC36 | MX80 Core
6 | G1090 | 10.73.2.248 | QTSC_QTE_MX80_01 | Juniper MX5-T | QTSC | 1AC34 | MX80 Core
7 | JN125BA1CAFB | 10.73.2.93 | QTSC_PUB_AGG_MX480_02 | Juniper MX480 | QTSC | 1AC36 | MX480 core
8 | JN125B395AFB | 10.73.2.94 | QTSC_PUB_AGG_MX480_01 | Juniper MX480 | QTSC | 1AC34 | MX480 core
1 | GG0211170210 | 10.73.2.109 | QTSC_PUB_AGG_EX4500_CDN | QTSC | 1BD31 | 31 | AGG model
2 | FOX1417GUWF | 10.73.2.131 | C7606_IRD_HCM | QTSC | 1BD31 | 5 | AGG model
3 | BP0210380717, BP0210380811, BP0214220404 | 10.73.2.225 | AGG_EX4200VC_ZONE5 | QTSC | 1BA09 | 33 | AGG model
4 | BP0212340243, BP0212372128 | 10.73.2.226 | AGG_EX4200VC_ZONE4 | QTSC | 1AU08 | 36 | AGG model
5 | BP0214030404; BP0214050169 | 10.73.2.227 | VCEX4200-NonVNG-GW | QTSC | 1BA31 | 29 | AGG model
6 | BP0210530289, BP0210389278 | 10.73.2.229 | AGG_EX4200VC_ZONE8 | QTSC | 1BM08 | 36 | AGG model
7 | BP0210380807, BP0211208159 | 10.73.2.230 | AGG_EX4200VC_ZONE1 | QTSC | 1AI09 | 20 | AGG model
8 | BP0211193852, BP0211167092 | 10.73.2.231 | AGG_EX4200VC_ZONE2 | QTSC | 1AL08 | 20 | AGG model
9 | Master (LX0214411008); Backup (LX0214411136) | 10.73.2.232 | AGG-EX4550VC-Z7 | QTSC | 1BJ09 | U36 | AGG model
10 | GG0211170183 ( VC1) | 10.73.2.245 | AGG_EX4500VC_ZONE6 | QTSC | 1BD08 | 38 | AGG model
11 | PE3717020478, PE3716010243 | 10.73.2.51 | PRI_AGG_EX4300VC_ZONE1 | QTSC | 1AI09 |  | AGG model
12 | PE3717060156,PE3717060081 | 10.73.2.52 | PRI_AGG_EX4300VC_ZONE2 | QTSC | 1AL08 | U36,U38 | AGG model
13 | PE3717060159,PE3717060082 | 10.73.2.53 | PRI_AGG_EX4300VC_ZONE3 | QTSC | 1AR11 |  | AGG model
14 | PE3717240149;PE3717240135 | 10.73.2.54 | PRI_AGG_EX4300VC_ZONE4 | QTSC | 1AU08 | U26;U28 | AGG model
15 | PE3717060011;PE3716010211 | 10.73.2.55 | PRI_AGG_EX4300VC_ZONE5 | QTSC | 1BA09 | 25;27 | AGG model
16 | PE3717060115,PE3717060001 | 10.73.2.56 | PRI_AGG_EX4300VC_ZONE6 | QTSC | 1BA09 |  | AGG model
17 | PE3717240111,PE3717240634 | 10.73.2.57 | PRI_AGG_EX4300VC_ZONE7 | QTSC | 1BJ09 | U30,U32 | AGG model
18 | PE3717060092,PE3716450793 | 10.73.2.58 | PRI_AGG_EX4300VC_ZONE8 | QTSC | 1BM08 | U26,U28 | AGG model
19 | AJ5209AA0213 | 10.73.2.91 | SRX650-CORE-BANKING | QTSC | 1BD31 | 19 | AGG model
20 | PE3717060209,PE3717060189 | 10.73.2.99 | QTSC_PRI_AGG_EX4300VC_DC_FV | QTSC | 1AC40 | 38,40 | AGG model
1 | CN0XT800282989AU0014A11 | 10.73.2.236 | DELL 6248 | QTSC | 1AU08 | 33 | Access Device
2 | BP0215440062, BP0215440061 | 10.73.2.92 | Juniper EX4200-48T | QTSC | 1BD31 | 22, 24 | Access Device
3 | CN0XT800282989C10249A11 | 10.80.0.39 | DELL 6248 | QTSC | 1BA39 | 38 | Access Device
4 | TC3717090082 | 10.80.1.110 | Juniper EX4600-40F | QTSC | 1AI11 | 38 | Access Device
5 | CN2829852Q0146 | 10.80.1.120 | Force10-MXL | QTSC | 1AI12 | U1 | Access Device
6 | FOC1203493F | 10.80.1.121 | CISCO 3020 | QTSC | 1AI12 | 11 | Access Device
7 | FOC105026BC | 10.80.1.122 | CISCO 3020 | QTSC | 1AI12 | 21 | Access Device
8 | SGH7112TY2 | 10.80.1.123 | CISCO 3020 | QTSC | 1AI12 | U31 | Access Device
9 | TC3717090052 | 10.80.1.130 | Juniper EX4600-40F | QTSC | 1AI13 | U38 | Access Device
10 | FOC12034Q23 | 10.80.1.150 | CISCO 3020 | QTSC | 1AI15 | 1 | Access Device
11 | FOC10502625 | 10.80.1.151 | CISCO 3020 | QTSC | 1AI15 | 11 | Access Device
12 | FOC105025U8 | 10.80.1.152 | CISCO 3020 | QTSC | 1AI15 | 21 | Access Device
13 | CN282981770320 | 10.80.1.153 | DELL M6220 | QTSC | 1AI15 | 31 | Access Device
14 | 6C7450102H | 10.80.1.160 | HP6125G | QTSC | 1AI16 | 1 | Access Device
15 | CN2829821A0639 | 10.80.1.161 | DELL M6220 | QTSC | 1AI16 | 11 | Access Device
16 | FOC135220CM | 10.80.1.162 | CISCO 3020 | QTSC | 1AI16 | 21 | Access Device
17 | 3C4316001M | 10.80.1.163 | HP 6120G | QTSC | 1AI16 | 31 | Access Device
18 | FOC10502624 | 10.80.1.171 | CISCO 3020 | QTSC | 1AI17 | 1 | Access Device
19 | 6C74501046 | 10.80.1.172 | HP6125G | QTSC | 1AI17 | 11 | Access Device
20 | FOC12254VBB | 10.80.1.173 | CISCO 3012 | QTSC | 1AI17 | 22 | Access Device
21 | CN0XT8002829805G0084A12 | 10.80.1.190 | DELL 6248 | QTSC | 1AI19 | 38 | Access Device
22 | CN0XT8002829805G0092A12 | 10.80.1.200 | DELL 6248 | QTSC | 1AI20 | 38 | Access Device
23 | CN0XT8002829804D0022A12 | 10.80.1.210 | DELL 6248 | QTSC | 1AI21 | 38 | Access Device
24 | CN0XT800282988C10121A07 | 10.80.1.230 | DELL 6248 | QTSC | 1AI23 | 38 | Access Device
25 | CN0XT8002829805G0124A12 | 10.80.1.240 | DELL 6248 | QTSC | 1AI24 | 38 | Access Device
26 | CN0XT800282989C10170A11 | 10.80.1.251 | DELL 6248 | QTSC | 1AI25 | 38 | Access Device
27 | CN0XT800282981AA0151A16 | 10.80.1.254 | DELL 6248 | QTSC | 1AC41 | 38 | Access Device
28 | PE3717060099 | 10.80.1.40 | Juniper EX4300-48T | QTSC | 1BA40 | U38 | Access Device
29 | FOC12034CE9 | 10.80.1.41 | CISCO 3020 | QTSC | 1BA40 | 1 | Access Device
30 | FOC120355N4 | 10.80.1.42 | CISCO 3020 | QTSC | 1BD34 | 2 | Access Device
31 | FOC10500Q6Y | 10.80.1.43 | CISCO 3020 | QTSC | 1BD34 | 12 | Access Device
32 | FOC13521YYN | 10.80.1.44 | CISCO 3020 | QTSC | 1BA40 | 11 | Access Device
33 | CN282989860043 | 10.80.103.113 | DELL M6348 | QTSC | 1AR11 | 11 | Access Device
34 | CN282989AQ0063 | 10.80.103.114 | DELL M6348 | QTSC | 1AR11 | 11 | Access Device
35 | CN0XT800282989AU0010A11 | 10.80.106.130 | DELL 6248 | QTSC | 1BD13 | 38 | Access Device
36 | FOC1214S0VZ | 10.80.2.100 | CISCO 3012 | QTSC | 1AL10 | 1 | Access Device
37 | FOC1215S0NU | 10.80.2.102 | CISCO 3012 | QTSC | 1AL10 | 15 | Access Device
38 | CN282981AM0022 | 10.80.2.103 | DELL M6220 | QTSC | 1AL10 | 22 | Access Device
39 | CN282981B80224 | 10.80.2.104 | DELL M6220 | QTSC | 1AL10 | 32 | Access Device
40 | FOC1203T0FC | 10.80.2.110 | CISCO 3020 | QTSC | 1AL11 | 1 | Access Device
41 | FOC1202T0RW | 10.80.2.113 | CISCO 3020 | QTSC | 1AL11 | 31 | Access Device
42 | CN282980690038 | 10.80.2.115 | DELL M6348 | QTSC | 1AL11 | 21 | Access Device
43 | CN2829803U0297 | 10.80.2.116 | DELL M6220 | QTSC | 1AL11 | 21 | Access Device
44 | CN2829817H0128 | 10.80.2.117 | DELL M6348 | QTSC | 1AL11 | 11 | Access Device
45 | CN2829826D0086 | 10.80.2.118 | DELL M6348 | QTSC | 1AL11 | 11 | Access Device
46 | FOC1238S0G8 | 10.80.2.122 | CISCO 3012 | QTSC | 1AL10 | 8 | Access Device
47 | CN2829821A0230 | 10.80.2.123 | DELL M6220 | QTSC | 1AL12 | 1 | Access Device
48 | CN2829825S0054 | 10.80.2.124 | DELL M6348 | QTSC | 1AL12 | 1 | Access Device
49 | CN2829826L0084 | 10.80.2.125 | DELL M6220 | QTSC | 1AL12 | 11 | Access Device
50 | CN2829826D0089 | 10.80.2.126 | DELL M6348 | QTSC | 1AL12 | 11 | Access Device
51 | CN2829833U0220 | 10.80.2.127 | DELL M6220 | QTSC | 1AL12 | 21 | Access Device
52 | CN282982C30080 | 10.80.2.128 | DELL M6348 | QTSC | 1AL12 | 21 | Access Device
53 | CN2829834J0239 | 10.80.2.141 | DELL M6220 | QTSC | 1AL14 | 1 | Access Device
54 | CN2829825S0071 | 10.80.2.142 | DELL M6348 | QTSC | 1AL14 | 1 | Access Device
55 | CN2829893O0098 | 10.80.2.143 | DELL M6220 | QTSC | 1AL14 | 11 | Access Device
56 | CN282981C20017 | 10.80.2.144 | DELL M6348 | QTSC | 1AL14 | 11 | Access Device
57 | CN2829823D0354 | 10.80.2.145 | DELL M6220 | QTSC | 1AL14 | 21 | Access Device
58 | CN2829823K0023 | 10.80.2.146 | DELL M6348 | QTSC | 1AL14 | 21 | Access Device
59 | CN2829826L0336 | 10.80.2.147 | DELL M6220 | QTSC | 1AL14 | 31 | Access Device
60 | CN2829825A0153 | 10.80.2.148 | DELL M6348 | QTSC | 1AL14 | 31 | Access Device
61 | FOC1203T0LB | 10.80.2.150 | CISCO 3020 | QTSC | 1AL15 | 1 | Access Device
62 | FOC1127T0HU | 10.80.2.151 | CISCO 3020 | QTSC | 1AL15 | 11 | Access Device
63 | CN2829803U0063 | 10.80.2.152 | DELL M6220 | QTSC | 1AL15 | 21 | Access Device
64 | CN282981770297 | 10.80.2.153 | DELL M6220 | QTSC | 1AL15 | 31 | Access Device
65 | CN282989B10127 | 10.80.2.160 | DELL M6220 | QTSC | 1AL16 | 1 | Access Device
66 | CN2829802J0009 | 10.80.2.161 | DELL M6220 | QTSC | 1AL16 | 11 | Access Device
67 | CN2829803U0283 | 10.80.2.162 | DELL M6220 | QTSC | 1AL16 | 21 | Access Device
68 | CN282980BA0104 | 10.80.2.163 | DELL M6348 | QTSC | 1AL16 | 31 | Access Device
69 | CN2829802B0383 | 10.80.2.180 | DELL M6220 | QTSC | 1AL18 | 1 | Access Device
70 | FOC1331H009 | 10.80.2.181 | CISCO 3032 | QTSC | 1AL18 | 11 | Access Device
71 | FOC13360D2P | 10.80.2.182 | CISCO 3032 | QTSC | 1AL18 | 21 | Access Device
72 | CN282981770359 | 10.80.2.183 | DELL M6220 | QTSC | 1AL18 | 31 | Access Device
73 | CN282980410338 | 10.80.2.190 | DELL M6220 | QTSC | 1AL19 | 1 | Access Device
74 | FOC13311A16 | 10.80.2.191 | CISCO 3032 | QTSC | 1AL19 | 11 | Access Device
75 | CN2829805C0138 | 10.80.2.192 | DELL M6220 | QTSC | 1AL19 | 21 | Access Device
76 | CN0XT8002829804D0130A12 | 10.80.2.200 | DELL 6248 | QTSC | 1AL20 | 38 | Access Device
77 | CN0XT8002829804D0071A12 | 10.80.2.220 | DELL 6248 | QTSC | 1AL22 | 38 | Access Device
78 | PE3717270727 | 10.80.2.231 | Juniper EX4300-48T | QTSC | 1AL23 | 39 | Access Device
79 | CN0XT8002829804D0077A12 | 10.80.2.240 | DELL 6248 | QTSC | 1AL24 | 38 | Access Device
80 | 6C7245100N | 10.80.2.250 | HP6125G | QTSC | 1BM24 | 1 | Access Device
81 | CN0XT800282989C10254A11 | 10.80.3.101 | DELL 6248 | QTSC | 1AC34 | 39 | Access Device
82 | 3C424100F5 | 10.80.3.110 | HP 6120G | QTSC | 1AR11 | 1 | Access Device
83 | 3C4316000C | 10.80.3.111 | HP 6120G | QTSC | 1AR11 | 31 | Access Device
84 | CN282982350124 | 10.80.3.112 | DELL M6348 | QTSC | 1AR11 | 21 | Access Device
85 | FOC1401T03Y | 10.80.3.160 | CISCO 3020 | QTSC | 1AR16 | 1 | Access Device
86 | FOC1050T1Z1 | 10.80.3.161 | CISCO 3020 | QTSC | 1AR16 | 11 | Access Device
87 | CN2829802B0380 | 10.80.3.162 | DELL M6220 | QTSC | 1AR16 | 21 | Access Device
88 | 3C424100GS | 10.80.3.163 | HP 6120G | QTSC | 1AR16 | 31 | Access Device
89 | 3C424800D9 | 10.80.3.170 | HP 6120G | QTSC | 1AR17 | 11 | Access Device
90 | 3C414800RF | 10.80.3.171 | HP 6120G | QTSC | 1AR17 | 1 | Access Device
91 | 3C4252015K | 10.80.3.172 | HP 6120G | QTSC | 1AR17 | 21 | Access Device
92 | CN-0HC276-28298-539-0009 | 10.80.3.173 | DELL 5324 | QTSC | 1AR17 | 38 | Access Device
93 | BP0214221351 | 10.80.3.19 | Juniper EX4200-48T | QTSC | 1BM19 | 41 | Access Device
94 | 6C73011005 | 10.80.3.191 | HP6125G | QTSC | 1AR19 | 1 | Access Device
95 | 6C7420102Z | 10.80.3.192 | HP6125G | QTSC | 1AR19 | 11 | Access Device
96 | CN0XT8002829805G0291A12 | 10.80.3.193 | Juniper EX4300-48T | QTSC | 1AR19 | 38 | Access Device
97 | BP0214320900 | 10.80.3.20 | Juniper EX4200-48T | QTSC | 1BM20 | 38 | Access Device
98 | CN0XT8002829805G0059A12 | 10.80.3.201 | Juniper EX4300-48T | QTSC | 1AR20 | 38 | Access Device
99 | PE3717240220 | 10.80.3.211 | Juniper EX4300-48T | QTSC | 1AR21 | 37 | Access Device
100 | PE3717240419 | 10.80.3.231 | Juniper EX4300-48T | QTSC | 1AR23 | 37 | Access Device
101 | TW2016008K | 10.80.3.240 | HP 6120G | QTSC | 1AR24 | 11 | Access Device
102 | FOC1332H01J | 10.80.3.241 | CISCO 3032 | QTSC | 1AR24 | 1 | Access Device
103 | 3C4217014S | 10.80.3.242 | HP 6120G | QTSC | 1AR24 | 21 | Access Device
104 | CN2829824H0287 | 10.80.3.243 | DELL M6220 | QTSC | 1AR24 | 31 | Access Device
105 | BP0214050218 | 10.80.3.25 | Juniper EX4200-48T | QTSC | 1BJ25 | 38 | Access Device
106 | CN0J7MFN2829835G0005A11 | 10.80.3.251 | DELL 7048R | QTSC | 1BA37 | 40 | Access Device
107 | PE3717240762 | 10.80.3.252 | Juniper EX4300-48T | QTSC | 1AR25 | 36 | Access Device
108 | BP0214320775 | 10.80.3.35 | Juniper EX4200-48T | QTSC | 1AU35 | 40 | Access Device
109 | BP0214320664 | 10.80.3.36 | Juniper EX4200-48T | QTSC | 1AU36 | 40 | Access Device
110 | LX0214380378 | 10.80.3.42 | EX4550 | QTSC | 1AU42 | 38 | Access Device
111 | FOC1127T0R2 | 10.80.4.100 | CISCO 3020 | QTSC | 1AU10 | 1 | Access Device
112 | FOC1050T1VD | 10.80.4.102 | CISCO 3020 | QTSC | 1AU10 | 21 | Access Device
113 | CN282981AM0025 | 10.80.4.103 | DELL M6220 | QTSC | 1AU10 | 31 | Access Device
114 | 3C4321003A | 10.80.4.110 | HP 6120G | QTSC | 1AU11 | 1 | Access Device
115 | 3C4321001D | 10.80.4.111 | HP 6120G | QTSC | 1AU11 | 11 | Access Device
116 | 3C4321003B | 10.80.4.112 | HP 6120G | QTSC | 1AU11 | 21 | Access Device
117 | 6C72451039 | 10.80.4.113 | HP6125G | QTSC | 1AU11 | 31 | Access Device
118 | PE3717290132 | 10.80.4.121 | Juniper EX4300-48T | QTSC | 1AU12 | 38 | Access Device
119 | FOC1352S02F | 10.80.4.140 | CISCO 3012 | QTSC | 1AU14 | 1 | Access Device
120 | 3C4217014B | 10.80.4.141 | HP 6120G | QTSC | 1AU14 | 11 | Access Device
121 | FOC1203T0LP | 10.80.4.142 | CISCO 3020 | QTSC | 1AU14 | 21 | Access Device
122 | FOC1050T1VE | 10.80.4.150 | CISCO 3020 | QTSC | 1AU15 | 1 | Access Device
123 | FOC1050T1KM | 10.80.4.151 | CISCO 3020 | QTSC | 1AU15 | 11 | Access Device
124 | CN282981AM0042 | 10.80.4.153 | DELL M6220 | QTSC | 1AU15 | 31 | Access Device
125 | BP0213056158 | 10.80.4.160 | Juniper EX4200-48T | QTSC | 1AU16 | 38 | Access Device
126 | CN282981BG0155 | 10.80.4.182 | DELL M6220 | QTSC | 1AU18 | 20 | Access Device
127 | CN282981B80025 | 10.80.4.183 | DELL M6220 | QTSC | 1AU18 | 30 | Access Device
128 | CN282981770319 | 10.80.4.191 | DELL M6220 | QTSC | 1AU19 | 11 | Access Device
129 | FOC1203T0FR | 10.80.4.192 | CISCO 3020 | QTSC | 1AU19 | 21 | Access Device
130 | 6C72451096 | 10.80.4.193 | HP6125G | QTSC | 1AU19 | 31 | Access Device
131 | PE3717290325 | 10.80.4.201 | Juniper EX4300-48T | QTSC | 1AU20 | U37 | Access Device
132 | PE3717240214 | 10.80.4.221 | Juniper EX4300-48T | QTSC | 1AU22 | 39 | Access Device
133 | CN0XT800282989BE0028A11 | 10.80.4.230 | DELL 6248 | QTSC | 1AU23 | 38 | Access Device
134 | CN0XT800282989C10248A11 | 10.80.4.240 | DELL 6248 | QTSC | 1AU24 | 38 | Access Device
135 | CN0H151K2829804H0028A00 | 10.80.4.30 | DELL 8024F | QTSC | 1AU31 | 40 | Access Device
136 | 6C7503004Z | 10.80.5.100 | HP6125G | QTSC | 1BA34 | 21 | Access Device
137 | FOC12021KDG | 10.80.5.101 | CISCO 3020 | QTSC | 1BD30 | 21 | Access Device
138 | 3C424800G8 | 10.80.5.110 | HP 6120G | QTSC | 1BA11 | 1 | Access Device
139 | 3C4316000F | 10.80.5.111 | HP 6120G | QTSC | 1BA11 | 11 | Access Device
140 | 3C424800FC | 10.80.5.112 | HP 6120G | QTSC | 1BA11 | 21 | Access Device
141 | 3C43160013 | 10.80.5.113 | HP 6120G | QTSC | 1BA11 | 31 | Access Device
142 | 3C4217014H | 10.80.5.120 | HP 6120G | QTSC | 1BA12 | 1 | Access Device
143 | 3C42170158 | 10.80.5.121 | HP 6120G | QTSC | 1BA12 | 11 | Access Device
144 | 3C4217014C | 10.80.5.122 | HP 6120G | QTSC | 1BA12 | 21 | Access Device
145 | 3C424100FP | 10.80.5.123 | HP 6120G | QTSC | 1BA12 | 31 | Access Device
146 | TC3717290019 | 10.80.5.130 | Juniper EX4600-40F | QTSC | 1BA13 | U38 | Access Device
147 | FOC12034PT9 | 10.80.5.132 | CISCO 3020 | QTSC | 1BA13 | 11 | Access Device
148 | CN282982230002 | 10.80.5.135 | DELL M6220 | QTSC | 1BA13 | 1 | Access Device
149 | BP0215440022 | 10.80.5.15 | Juniper EX4200-48T | QTSC | 1BM15 | 40 | Access Device
150 | BP0214220163 | 10.80.5.151 | Juniper EX4200-48T | QTSC | 1BA15 | 40 | Access Device
151 | 3C424100FM | 10.80.5.160 | HP 6120G | QTSC | 1BA16 | 29 | Access Device
152 | 3C4316000X | 10.80.5.161 | HP 6120G | QTSC | 1BA16 | 1 | Access Device
153 | CN282985230018 | 10.80.5.162 | Force10-MXL | QTSC | 1BA16 | 11 | Access Device
154 | CN0XT800282981AA0081A16 | 10.80.5.170 | DELL 6248 | QTSC | 1BA17 | 38 | Access Device
155 | PE3717270691 | 10.80.5.171 | Juniper EX4300-48T | QTSC | 1BA17 | 41 | Access Device
156 | BP0214400156 | 10.80.5.18 | Juniper EX4200-48T | QTSC | 1BM18 | 38 | Access Device
157 | CN282981BG0158 | 10.80.5.191 | DELL M6220 | QTSC | 1BA19 | 1 | Access Device
158 | CN282981C20016 | 10.80.5.192 | DELL M6348 | QTSC | 1BA19 | 1 | Access Device
159 | CN2829821A0245 | 10.80.5.193 | DELL M6220 | QTSC | 1BA19 | 31 | Access Device
160 | CN282981770348 | 10.80.5.195 | DELL M6220 | QTSC | 1BA19 | 11 | Access Device
161 | CN2829817R0030 | 10.80.5.196 | DELL M6348 | QTSC | 1BA19 | 11 | Access Device
162 | CN282981770350 | 10.80.5.197 | DELL M6220 | QTSC | 1BA19 | 21 | Access Device
163 | CN2829815F0011 | 10.80.5.198 | DELL M6348 | QTSC | 1BA19 | 21 | Access Device
164 | FOC113819QF | 10.80.5.200 | CISCO 3020 | QTSC | 1BA20 | 1 | Access Device
165 | FOC11272NM5 | 10.80.5.201 | CISCO 3020 | QTSC | 1BA20 | 11 | Access Device
166 | FOC113645LD | 10.80.5.202 | CISCO 3020 | QTSC | 1BA20 | 21 | Access Device
167 | CN2829821A0255 | 10.80.5.205 | DELL M6220 | QTSC | 1BA20 | 31 | Access Device
168 | FOC11381JCC | 10.80.5.210 | CISCO 3020 | QTSC | 1BA21 | 1 | Access Device
169 | FOC113819QU | 10.80.5.211 | CISCO 3020 | QTSC | 1BA21 | 11 | Access Device
170 | FOC11381B8C | 10.80.5.212 | CISCO 3020 | QTSC | 1BA21 | 21 | Access Device
171 | CN0XT8002829805G0107A12 | 10.80.5.230 | DELL 6248 | QTSC | 1BA23 | 38 | Access Device
172 | CN0XT8002829805G0102A12 | 10.80.5.240 | DELL 6248 | QTSC | 1BA24 | 38 | Access Device
173 | BP0210389278 | 10.80.5.249 | Juniper EX4200-48T | QTSC | 1BD36 | 38 | Access Device
174 | TW2016008N | 10.80.5.250 | HP6125 | QTSC | 1BA25 | 1 | Access Device
175 | CN2829805C0137 | 10.80.5.251 | DELL M6220 | QTSC | 1BA25 | 11 | Access Device
176 | CN2829821A0654 | 10.80.5.252 | DELL M6220 | QTSC | 1BA25 | 21 | Access Device
177 | FOC105025VH | 10.80.5.253 | CISCO 3020 | QTSC | 1BA25 | 31 | Access Device
178 | PE3717020679 | 10.80.5.34 | Juniper EX4300-48T | QTSC | 1BA34 | 38 | Access Device
179 | PE3717020012 | 10.80.5.34 | Juniper EX4300-48T | QTSC | 1BD30 | 38 | Access Device
180 | PE3717290163 | 10.80.5.39 | Juniper EX4300-48T | QTSC | 1BA39 | 41 | Access Device
181 | PE3717240360 | 10.80.5.42 | Juniper EX4300-48T | QTSC | 1BA42 | 40 | Access Device
182 | 6C7430102S | 10.80.5.98 | HP6125G | QTSC | 1BD30 | U1 | Access Device
183 | 6C74301019 | 10.80.5.99 | HP6125G | QTSC | 1BA34 | 1 | Access Device
184 | CN0XT800282989C10172A11 | 10.80.6.100 | DELL 6248 | QTSC | 1BD16 | 41 | Access Device
185 | 3C4217013Y | 10.80.6.138 | HP 6120G | QTSC | 1BD38 | 22 | Access Device
186 | BP0215440058 | 10.80.6.140 | Juniper EX4200-48T | QTSC | 1BM14 | U38 | Access Device
187 | CN282982350123 | 10.80.6.16 | DELL M6348 | QTSC | 1BM16 | 1 | Access Device
188 | CN282985230003 | 10.80.6.160 | Force10-MXL | QTSC | 1BM16 | 11 | Access Device
189 | Force10-MXL | 10.80.6.161 | Force10-MXL | QTSC | 1BM16 | 21 | Access Device
190 | PE3717240293 | 10.80.6.191 | Juniper EX4300-48T | QTSC | 1BD19 | 36 | Access Device
191 | TW2016008P | 10.80.6.200 | HP 6120G | QTSC | 1BD20 | 1 | Access Device
192 | CN2829821A0233 | 10.80.6.202 | DELL M6220 | QTSC | 1BD20 | 11 | Access Device
193 | CN282981770370 | 10.80.6.203 | DELL M6220 | QTSC | 1BD20 | 21 | Access Device
194 | CN0P91K4282981670015A06 | 10.80.6.22 | DELL 8024F | QTSC | 1BM22 | 42 | Access Device
195 | CN2829805C0104 | 10.80.6.220 | DELL M6220 | QTSC | 1BD22 | 1 | Access Device
196 | CN2829805C0129 | 10.80.6.221 | DELL M6220 | QTSC | 1BD22 | 11 | Access Device
197 | PE3717240321 | 10.80.6.223 | Juniper EX4300-48T | QTSC | 1BD22 | 39 | Access Device
198 | PE3717290246 | 10.80.6.231 | Juniper EX4300-48T | QTSC | 1BD23 | 37 | Access Device
199 | PE3717240731 | 10.80.6.241 | Juniper EX4300-48T | QTSC | 1BD24 | U37 | Access Device
200 | CN0XT8002829804D0137A12 | 10.80.6.251 | DELL 6248 | QTSC | 1BA38 | 40 | Access Device
201 | BP0212372223 | 10.80.6.252 | Juniper EX4200-48T | QTSC | 1BM23 | 37 | Access Device
202 | PE3716010077 | 10.80.6.31 | Juniper EX4300-48T | QTSC | 1BP31 | U40 | Access Device
203 | LX0214380511 | 10.80.6.32 | EX4550-32F | QTSC | 1BD33 | 39 | Access Device
204 | CN0XT800282981AA0133A16 | 10.80.6.33 | DELL 6248 | QTSC | 1BD33 | 40 | Access Device
205 | FOC13452VC8 | 10.80.6.36 | CISCO 3560 | QTSC | 1BD31 | 26 | Access Device
206 | FOX1349G1QS | 10.80.6.37 | CISCO 4948 | QTSC | 1BD37 | 40 | Access Device
207 | 3C4321001B | 10.80.6.38 | HP 6120G | QTSC | 1BD38 | U2 | Access Device
208 | 6C7245105Y | 10.80.6.39 | HP6125G | QTSC | 1BD38 | 12 | Access Device
209 | CN0XT800282981AA0009A16 | 10.80.7.110 | DELL 6248 | QTSC | 1BJ11 | 38 | Access Device
210 | PE3717270727 | 10.80.7.121 | Juniper EX4300-48T | QTSC | 1BJ12 | 37 | Access Device
211 | CN0XT800282981AA0139A16 | 10.80.7.130 | DELL 6248 | QTSC | 1BJ13 | 38 | Access Device
212 | BNFHC2S | 10.80.7.150 | DELL M6220 | QTSC | 1BJ15 | 1 | Access Device
213 | FOC105026AT | 10.80.7.151 | CISCO 3020 | QTSC | 1BJ15 | 11 | Access Device
214 | 3C4217013W | 10.80.7.152 | HP 6120G | QTSC | 1BJ15 | 21 | Access Device
215 | 3C4217013Z | 10.80.7.153 | HP 6120G | QTSC | 1BJ15 | 31 | Access Device
216 | YJ1ZGS62N702 | 10.80.7.160 | NORTEL | QTSC | 1BJ16 | 31 | Access Device
217 |  | 10.80.7.161 | Juniper EX4300-48T | QTSC | 1BJ16 | U38 | Access Device
218 | FOC12140BN4 | 10.80.7.170 | CISCO 3012 | QTSC | 1BJ17 | 1 | Access Device
219 | 3C424100F9 | 10.80.7.172 | HP 6120G | QTSC | 1BJ17 | 21 | Access Device
220 | 3C424800GN | 10.80.7.190 | HP 6120G | QTSC | 1BJ19 | 31 | Access Device
221 | 3C414800R6 | 10.80.7.191 | HP 6120G | QTSC | 1BJ19 | 1 | Access Device
222 | 3C4217013Y | 10.80.7.194 | HP 6120G | QTSC | 1BJ19 | 21 | Access Device
223 | CN2829824H0254 | 10.80.7.200 | DELL M6220 | QTSC | 1BJ20 | 1 | Access Device
224 | CN2829821A0235 | 10.80.7.201 | DELL M6220 | QTSC | 1BJ20 | 11 | Access Device
225 | 6C74301027 | 10.80.7.202 | HP6125G | QTSC | 1BJ20 | 21 | Access Device
226 | 3C414800R2 | 10.80.7.203 | HP 6120G | QTSC | 1BJ20 | 31 | Access Device
227 | CN0J7MFN2829826M0004A07 | 10.80.7.210 | DELL 7048R | QTSC | 1BJ21 | 38 | Access Device
228 | CN0J7MFN2829826M0020A07 | 10.80.7.230 | DELL 7048R | QTSC | 1BJ23 | 38 | Access Device
229 | CN0J7MFN282982960013A07 | 10.80.7.241 | DELL 7048R | QTSC | 1BJ24 | 40 | Access Device
230 | BP0214320884 | 10.80.7.32 | Juniper EX4200-48T | QTSC | 1AU32 | 38 | Access Device
231 | TC3717270091;TC3717270125;TC3717270022;TC371727007 | 10.80.8.100 | Juniper EX4600-40F | QTSC | 1BM10 | 41 | Access Device
232 | LX0216370116 - LX0216370108 | 10.90.0.141 | EX4550-32F | QTSC | 1AU41 | 37 | Access Device
233 | FOC1141Z4LL | 10.90.0.3 | CISCO 3560 | QTSC | 1BA32 | 39 | Access Device
234 | BP0210380722, BP0214320676 | 10.90.0.40 | Juniper EX4200-48T | QTSC | 1AU40 | 42 | Access Device
235 | CN07D1GN2829833C0103A00 | 10.90.0.41 | DELL 8132F | QTSC | 1AU41 | 40 | Access Device
236 | TC3717090047 | 10.90.1.110 | Juniper EX4600-40F | QTSC | 1AI11 | 40 | Access Device
237 | CN282981BG0156 | 10.90.1.116 | DELL M6220 | QTSC | 1AR11 | 11 | Access Device
238 | CN2829852Q0164 | 10.90.1.120 | Force10-MXL | QTSC | 1AI12 | U1 | Access Device
239 | FOC12020WVU | 10.90.1.121 | CISCO 3020 | QTSC | 1AI12 | 11 | Access Device
240 | FOC1050262H | 10.90.1.122 | CISCO 3020 | QTSC | 1AI12 | 21 | Access Device
241 | SGH7112TY2 | 10.90.1.123 | CISCO 3020 | QTSC | 1AI12 | U31 | Access Device
242 | TC3717090161 | 10.90.1.130 | Juniper EX4600-40F | QTSC | 1AI13 | U40 | Access Device
243 | FOC12034Q48 | 10.90.1.150 | CISCO 3020 | QTSC | 1AI15 | 1 | Access Device
244 | FOC105025WZ | 10.90.1.151 | CISCO 3020 | QTSC | 1AI15 | 11 | Access Device
245 | FOC105025WY | 10.90.1.152 | CISCO 3020 | QTSC | 1AI15 | 21 | Access Device
246 | CN282981BG0157 | 10.90.1.153 | DELL M6220 | QTSC | 1AI15 | 31 | Access Device
247 | 6C7450103M | 10.90.1.160 | HP6125G | QTSC | 1AI16 | 1 | Access Device
248 | CN2829821A0339 | 10.90.1.161 | DELL M6220 | QTSC | 1AI16 | 11 | Access Device
249 | FOC13521Z5A | 10.90.1.162 | CISCO 3020 | QTSC | 1AI16 | 21 | Access Device
250 | 3C4316000R | 10.90.1.163 | HP 6120G | QTSC | 1AI16 | 31 | Access Device
251 | FOC105025X4 | 10.90.1.171 | CISCO 3020 | QTSC | 1AI17 | 1 | Access Device
252 | 6C7450103W | 10.90.1.172 | HP6125G | QTSC | 1AI17 |  | Access Device
253 | FOC1237542F | 10.90.1.173 | CISCO 3012 | QTSC | 1AI17 | 22 | Access Device
254 | CN0XT8002829805G0066A12 | 10.90.1.190 | DELL 6248 | QTSC | 1AI19 | 40 | Access Device
255 | FOC11410EPE | 10.90.1.200 | CISCO 3560 | QTSC | 1AI20 | 39 | Access Device
256 | BP0214320614 | 10.90.1.210 | Juniper EX4200-48T | QTSC | 1AI21 | 40 | Access Device
257 | CN0XT800282989AU0050A11 | 10.90.1.230 | DELL 6248 | QTSC | 1AI23 | 40 | Access Device
258 | CN0XT8002829805G0295A12 | 10.90.1.240 | DELL 6248 | QTSC | 1AI24 | 40 | Access Device
259 | PE3716450748,PE3716450943 | 10.90.1.40 | Juniper EX4300-48T | QTSC | 1BA40 | U40 | Access Device
260 | FOC120355MU | 10.90.1.41 | CISCO 3020 | QTSC | 1BA40 | 1 | Access Device
261 | FOC12034CEN | 10.90.1.42 | CISCO 3020 | QTSC | 1BD34 | 2 | Access Device
262 | FOC11281FY4 | 10.90.1.43 | CISCO 3020 | QTSC | 1BD34 | 12 | Access Device
263 | FOC10502622 | 10.90.1.44 | CISCO 3020 | QTSC | 1BA40 | 11 | Access Device
264 | FOC1214S19N | 10.90.2.100 | CISCO 3012 | QTSC | 1AL10 | 1 | Access Device
265 | FOC1215S0QA | 10.90.2.102 | CISCO 3012 | QTSC | 1AL10 | 15 | Access Device
266 | CN282981B80288 | 10.90.2.103 | DELL M6220 | QTSC | 1AL10 | 22 | Access Device
267 | CN282981B80213 | 10.90.2.104 | DELL M6220 | QTSC | 1AL10 | 32 | Access Device
268 | FOC1203T0LC | 10.90.2.110 | CISCO 3020 | QTSC | 1AL11 | 1 | Access Device
269 | FOC1203T0MH | 10.90.2.113 | CISCO 3020 | QTSC | 1AL11 | 31 | Access Device
270 | CN282981770324 | 10.90.2.115 | DELL M6220 | QTSC | 1AL11 | 21 | Access Device
271 | CN2829806D0006 | 10.90.2.116 | DELL M6348 | QTSC | 1AL11 | 21 | Access Device
272 | CN2829823D0369 | 10.90.2.117 | DELL M6220 | QTSC | 1AL11 | 11 | Access Device
273 | CN2829821A0664 | 10.90.2.118 | DELL M6220 | QTSC | 1AL11 | 11 | Access Device
274 | FOC1238S069 | 10.90.2.122 | CISCO 3020 | QTSC | 1AL10 | 8 | Access Device
275 | CN2829821A0257 | 10.90.2.123 | DELL M6220 | QTSC | 1AL12 | 1 | Access Device
276 | CN2829826D0049 | 10.90.2.124 | DELL M6348 | QTSC | 1AL12 | 1 | Access Device
277 | CN2829834J0212 | 10.90.2.125 | DELL M6220 | QTSC | 1AL12 | 11 | Access Device
278 | CN282980990003 | 10.90.2.126 | DELL M6348 | QTSC | 1AL12 | 11 | Access Device
279 | CN2829833U0003 | 10.90.2.127 | DELL M6220 | QTSC | 1AL12 | 21 | Access Device
280 | CN282982C30132 | 10.90.2.128 | DELL M6348 | QTSC | 1AL12 | 21 | Access Device
281 | CN2829805C0121 | 10.90.2.141 | DELL M6220 | QTSC | 1AL14 | 1 | Access Device
282 | CN2829825A0094 | 10.90.2.142 | DELL M6348 | QTSC | 1AL14 | 1 | Access Device
283 | CN282981C20299 | 10.90.2.143 | DELL M6220 | QTSC | 1AL14 | 11 | Access Device
284 | CN282981C20012 | 10.90.2.144 | DELL M6348 | QTSC | 1AL14 | 11 | Access Device
285 | CN2829823D0370 | 10.90.2.145 | DELL M6220 | QTSC | 1AL14 | 21 | Access Device
286 | CN2829823K0023 | 10.90.2.146 | DELL M6348 | QTSC | 1AL14 | 21 | Access Device
287 | CN2829826L0336 | 10.90.2.147 | DELL M6220 | QTSC | 1AL14 | 31 | Access Device
288 | CN2829825A0153 | 10.90.2.148 | DELL M6348 | QTSC | 1AL14 | 31 | Access Device
289 | FOC1202T0MY | 10.90.2.150 | CISCO 3020 | QTSC | 1AL15 | 1 | Access Device
290 | FOC1127T0E9 | 10.90.2.151 | CISCO 3020 | QTSC | 1AL15 | 11 | Access Device
291 | CN282980410337 | 10.90.2.152 | DELL M6220 | QTSC | 1AL15 | 21 | Access Device
292 | CN282981770296 | 10.90.2.153 | DELL M6220 | QTSC | 1AL15 | 31 | Access Device
293 | CN282989B10325 | 10.90.2.160 | DELL M6220 | QTSC | 1AL16 | 1 | Access Device
294 | CN2829803U0291 | 10.90.2.161 | DELL M6220 | QTSC | 1AL16 | 11 | Access Device
295 | CN2829805C0141 | 10.90.2.162 | DELL M6220 | QTSC | 1AL16 | 21 | Access Device
296 | CN282980AP0085 | 10.90.2.163 | DELL M6348 | QTSC | 1AL16 | 31 | Access Device
297 | CN2829802B0353 | 10.90.2.180 | DELL M6220 | QTSC | 1AL18 | 1 | Access Device
298 | FOC133119ZA | 10.90.2.181 | CISCO 3032 | QTSC | 1AL18 | 11 | Access Device
299 | FOC13353EJH | 10.90.2.182 | CISCO 3032 | QTSC | 1AL18 | 21 | Access Device
300 | CN282981770340 | 10.90.2.183 | DELL M6220 | QTSC | 1AL18 | 31 | Access Device
301 | CN2829803U0303 | 10.90.2.190 | DELL M6220 | QTSC | 1AL19 | 1 | Access Device
302 | FOC13263A2B | 10.90.2.191 | CISCO 3032 | QTSC | 1AL19 | 11 | Access Device
303 | CN2829805C0131 | 10.90.2.192 | DELL M6220 | QTSC | 1AL19 | 21 | Access Device
304 | CN0XT8002829805G0123A12 | 10.90.2.200 | DELL 6248 | QTSC | 1AL20 | 40 | Access Device
305 | CN0XT800282989AU0211A11 | 10.90.2.220 | DELL 6248 | QTSC | 1AL22 | 40 | Access Device
306 | CN0XT8002829804D0027A12 | 10.90.2.230 | DELL 6248 | QTSC | 1AL23 | 40 | Access Device
307 | CN0XT800282989AU0204A11 | 10.90.2.240 | DELL 6248 | QTSC | 1AL24 | 40 | Access Device
308 | 6C7245104L | 10.90.2.250 | HP6125G | QTSC | 1BM24 | 38 | Access Device
309 | 3C424100FD | 10.90.3.110 | HP 6120G | QTSC | 1AR11 | 1 | Access Device
310 | 3C43160011 | 10.90.3.111 | HP 6120G | QTSC | 1AR11 | 31 | Access Device
311 | CN2829806D0003 | 10.90.3.112 | DELL M6348 | QTSC | 1AR11 | 21 | Access Device
312 | FOC1401T01N | 10.90.3.160 | CISCO 3020 | QTSC | 1AR16 | 1 | Access Device
313 | FOC1050T1NW | 10.90.3.161 | CISCO 3020 | QTSC | 1AR16 | 11 | Access Device
314 | CN2829802B0358 | 10.90.3.162 | DELL M6220 | QTSC | 1AR16 | 21 | Access Device
315 | 3C424100FV | 10.90.3.163 | HP 6120G | QTSC | 1AR16 | 31 | Access Device
316 | 3C424800DC | 10.90.3.170 | HP 6120G | QTSC | 1AR17 | 11 | Access Device
317 | 3C424100F7 | 10.90.3.171 | HP 6120G | QTSC | 1AR17 | 1 | Access Device
318 | 3C4252014B | 10.90.3.172 | HP 6120G | QTSC | 1AR17 | 21 | Access Device
319 | CN-0HC276-28298-53G-0191 | 10.90.3.173 | DELL 5324 | QTSC | 1AR17 | 40 | Access Device
320 | BP0214030443 | 10.90.3.19 | Juniper EX4200-48T | QTSC | 1BM19 | 38 | Access Device
321 | CN0XT800282989AU0007A11 | 10.90.3.190 | DELL 6248 | QTSC | 1AR19 | 40 | Access Device
322 | 6C73031045 | 10.90.3.191 | HP6125G | QTSC | 1AR19 | 1 | Access Device
323 | 6C74201055 | 10.90.3.192 | HP6125G | QTSC | 1AR19 | 11 | Access Device
324 | BP0215440092 | 10.90.3.20 | Juniper EX4200-48T | QTSC | 1BM20 | 40 | Access Device
325 | CN0XT8002829804D0058A12 | 10.90.3.200 | DELL 6248 | QTSC | 1AR20 | 40 | Access Device
326 | CN0XT8002829805G0087A12 | 10.90.3.210 | DELL 6248 | QTSC | 1AR21 | 40 | Access Device
327 | CN0XT8002829804D0133A12 | 10.90.3.230 | DELL 6248 | QTSC | 1AR23 | 41 | Access Device
328 | TW2016008R | 10.90.3.240 | HP 6120G | QTSC | 1AR24 | 11 | Access Device
329 | FOC1336H081 | 10.90.3.241 | CISCO 3032 | QTSC | 1AR24 | 1 | Access Device
330 | 3C4217014K | 10.90.3.242 | HP 6120G | QTSC | 1AR24 | 21 | Access Device
331 | CN2829824H0289 | 10.90.3.243 | DELL M6220 | QTSC | 1AR24 | 31 | Access Device
332 | LX0215044219 | 10.90.3.25 | EX4550-32F | QTSC | 1BJ25 | U40 | Access Device
333 | CN0XT8002829805G0071A12 | 10.90.3.250 | DELL 6248 | QTSC | 1AR25 | 40 | Access Device
334 | CN0J7MFN2829835G0004A11 | 10.90.3.251 | DELL 7048R | QTSC | 1BA37 | 42 | Access Device
335 | BP0214320920 | 10.90.3.35 | Juniper EX4200-48T | QTSC | 1AU35 | 42 | Access Device
336 | BP0214320904 | 10.90.3.36 | Juniper EX4200-48T | QTSC | 1AU36 | 42 | Access Device
337 | LX0215448513 | 10.90.3.42 | EX4550 | QTSC | 1AU42 | 40 | Access Device
338 | FOX1349G1QG | 10.90.3.92 | Cisco WS-C4948-10GE | QTSC | 1AR09 | 37 | Access Device
339 | FOC1128T01C | 10.90.4.100 | CISCO 3020 | QTSC | 1AU10 | 1 | Access Device
340 | FOC1050T1XC | 10.90.4.102 | CISCO 3020 | QTSC | 1AU10 | 21 | Access Device
341 | CN282981AM0024 | 10.90.4.103 | DELL M6220 | QTSC | 1AU10 | 31 | Access Device
342 | 3C4321001C | 10.90.4.110 | HP 6120G | QTSC | 1AU11 | 1 | Access Device
343 | 3C4321000T | 10.90.4.111 | HP 6120G | QTSC | 1AU11 | 11 | Access Device
344 | 3C4321003C | 10.90.4.112 | HP 6120G | QTSC | 1AU11 | 21 | Access Device
345 | 6C72451086 | 10.90.4.113 | HP6125G | QTSC | 1AU11 | 31 | Access Device
346 | CN0J7MFN2829826M0014A07 | 10.90.4.120 | DELL 7048R | QTSC | 1AU12 | 42 | Access Device
347 | 3C42170157 | 10.90.4.141 | HP 6120G | QTSC | 1AU14 | 11 | Access Device
348 | FOC1203T0LL | 10.90.4.142 | CISCO 3020 | QTSC | 1AU14 | 21 | Access Device
349 | FOC1050T1NT | 10.90.4.150 | CISCO 3020 | QTSC | 1AU15 | 1 | Access Device
350 | FOC1050T1Y0 | 10.90.4.151 | CISCO 3020 | QTSC | 1AU15 | 11 | Access Device
351 | CN282981AM0029 | 10.90.4.153 | DELL M6220 | QTSC | 1AU15 | 31 | Access Device
352 | BP0214050218 | 10.90.4.160 | Juniper EX4200-48T | QTSC | 1AU16 | 36 | Access Device
353 | CN282981BG0159 | 10.90.4.182 | DELL M6220 | QTSC | 1AU18 | 20 | Access Device
354 | CN282981B80012 | 10.90.4.183 | DELL M6220 | QTSC | 1AU18 | 30 | Access Device
355 | CN282981770321 | 10.90.4.191 | DELL M6220 | QTSC | 1AU19 | 11 | Access Device
356 | FOC1203T0F0 | 10.90.4.192 | CISCO 3020 | QTSC | 1AU19 | 21 | Access Device
357 | 6C7245101M | 10.90.4.193 | HP6125G | QTSC | 1AU19 | 31 | Access Device
358 | CN0XT8002829805G0075A12 | 10.90.4.200 | DELL 6248 | QTSC | 1AU20 | 40 | Access Device
359 | CN0XT800282981AA0071A16 | 10.90.4.220 | DELL 6248 | QTSC | 1AU22 | 40 | Access Device
360 | 6C7503003G | 10.90.5.100 | HP6125G | QTSC | 1BA34 | 21 | Access Device
361 | FOC12034Q4L | 10.90.5.101 | CISCO 3020 | QTSC | 1BD30 | 21 | Access Device
362 | 3C424800G7 | 10.90.5.110 | HP 6120G | QTSC | 1BA11 | 1 | Access Device
363 | 3C4316000D | 10.90.5.111 | HP 6120G | QTSC | 1BA11 | 11 | Access Device
364 | 3C424800F9 | 10.90.5.112 | HP 6120G | QTSC | 1BA11 | 21 | Access Device
365 | 3C4316000Z | 10.90.5.113 | HP 6120G | QTSC | 1BA11 | 31 | Access Device
366 | 3C4217014D | 10.90.5.120 | HP 6120G | QTSC | 1BA12 | 1 | Access Device
367 | 3C4217016Y | 10.90.5.121 | HP 6120G | QTSC | 1BA12 | 11 | Access Device
368 | 3C42170150 | 10.90.5.122 | HP 6120G | QTSC | 1BA12 | 21 | Access Device
369 | 3C424100FT | 10.90.5.123 | HP 6120G | QTSC | 1BA12 | 31 | Access Device
370 | TC3717290011 | 10.90.5.130 | Juniper EX4600-40F | QTSC | 1BA13 | U40 | Access Device
371 | FOC120355N6 | 10.90.5.132 | CISCO 3020 | QTSC | 1BA13 | 11 | Access Device
372 | CN282982230001 | 10.90.5.135 | DELL M6220 | QTSC | 1BA13 | 1 | Access Device
373 | BP0214400295 | 10.90.5.15 | Juniper EX4200-48T | QTSC | 1BM15 | 42 | Access Device
374 | BP0214220660 | 10.90.5.151 | Juniper EX4200-48T | QTSC | 1BA15 | 42 | Access Device
375 | 3C424100HJ | 10.90.5.160 | HP 6120G | QTSC | 1BA16 | 29 | Access Device
376 | 3C43160010 | 10.90.5.161 | HP 6120G | QTSC | 1BA16 | 1 | Access Device
377 | CN282985230048 | 10.90.5.162 | Force10-MXL | QTSC | 1BA16 | 11 | Access Device
378 | CN0XT8002829805G0103A12 | 10.90.5.170 | DELL 6248 | QTSC | 1BA17 | 40 | Access Device
379 | BP0214400238 | 10.90.5.18 | Juniper EX4200-48T | QTSC | 1BM18 | 40 | Access Device
380 | CN282981BG0163 | 10.90.5.191 | DELL M6220 | QTSC | 1BA19 | 1 | Access Device
381 | CN2829823K0032 | 10.90.5.192 | DELL M6348 | QTSC | 1BA19 | 1 | Access Device
382 | CN2829821A0242 | 10.90.5.193 | DELL M6220 | QTSC | 1BA19 | 31 | Access Device
383 | CN2829805C0120 | 10.90.5.195 | DELL M6220 | QTSC | 1BA19 | 11 | Access Device
384 | CN2829817R0034 | 10.90.5.196 | DELL M6348 | QTSC | 1BA19 | 11 | Access Device
385 | CN282981770373 | 10.90.5.197 | DELL M6220 | QTSC | 1BA19 | 21 | Access Device
386 | CN2829815F0031 | 10.90.5.198 | DELL M6348 | QTSC | 1BA19 | 21 | Access Device
387 | FOC11381JG5 | 10.90.5.200 | CISCO 3020 | QTSC | 1BA20 | 1 | Access Device
388 | FOC11281K5P | 10.90.5.201 | CISCO 3020 | QTSC | 1BA20 | 11 | Access Device
389 | FOC11381J5Q | 10.90.5.202 | CISCO 3020 | QTSC | 1BA20 | 21 | Access Device
390 | CN2829821A0025 | 10.90.5.205 | DELL M6220 | QTSC | 1BA20 | 31 | Access Device
391 | FOC11381J1A | 10.90.5.210 | CISCO 3020 | QTSC | 1BA21 | 1 | Access Device
392 | FOC11381J75 | 10.90.5.211 | CISCO 3020 | QTSC | 1BA21 | 11 | Access Device
393 | FOC11381J88 | 10.90.5.212 | CISCO 3020 | QTSC | 1BA21 | 21 | Access Device
394 | CN0XT8002829805G0101A12 | 10.90.5.230 | DELL 6248 | QTSC | 1BA23 | 40 | Access Device
395 | CN0XT8002829805G0106A12 | 10.90.5.240 | DELL 6248 | QTSC | 1BA24 | 40 | Access Device
396 | BP0210530289 | 10.90.5.249 | Juniper EX4200-48T | QTSC | 1BD36 | 40 | Access Device
397 | 6C74501036 | 10.90.5.250 | HP6125 | QTSC | 1BA25 | 1 | Access Device
398 | CN2829805C0093 | 10.90.5.251 | DELL M6220 | QTSC | 1BA25 | 11 | Access Device
399 | CN282982230025 | 10.90.5.252 | DELL M6220 | QTSC | 1BA25 | 21 | Access Device
400 | FOC1049559Z | 10.90.5.253 | CISCO 3020 | QTSC | 1BA25 | 31 | Access Device
401 | PE3717020624 | 10.90.5.34 | Juniper EX4300-48T | QTSC | 1BA34 | 40 | Access Device
402 | PE3717020440 | 10.90.5.34 | Juniper EX4300-48T | QTSC | 1BD30 | 40 | Access Device
403 | 6C7450103F | 10.90.5.98 | HP6125G | QTSC | 1BD30 | 1 | Access Device
404 | 6C74301006 | 10.90.5.99 | HP6125G | QTSC | 1BA34 | 1 | Access Device
405 | CN0XT800282989AU0004A11 | 10.90.6.130 | DELL 6248 | QTSC | 1BD13 | 40 | Access Device
406 | 3C424100F7 | 10.90.6.138 | HP 6120G | QTSC | 1BD38 | 22 | Access Device
407 | BP0215090182 | 10.90.6.140 | Juniper EX4200-48T | QTSC | 1BM14 | U40 | Access Device
408 | CN2829806D0010 | 10.90.6.16 | DELL M6348 | QTSC | 1BM16 | 1 | Access Device
409 | CN282985230025 | 10.90.6.160 | Force10-MXL | QTSC | 1BM16 | 11 | Access Device
410 | Force10-MXL | 10.90.6.161 | Force10-MXL | QTSC | 1BM16 | 21 | Access Device
411 | CN0XT8002829804D0118A12 | 10.90.6.190 | DELL 6248 | QTSC | 1BD19 | 40 | Access Device
412 | 3C43210046 | 10.90.6.200 | HP 6120G | QTSC | 1BD20 | 1 | Access Device
413 | CN2829821A0236 | 10.90.6.202 | DELL M6220 | QTSC | 1BD20 | 11 | Access Device
414 | CN282981770290 | 10.90.6.203 | DELL M6220 | QTSC | 1BD20 | 21 | Access Device
415 | CN2829805C0130 | 10.90.6.220 | DELL M6220 | QTSC | 1BD22 | 1 | Access Device
416 | CN2829803U0211 | 10.90.6.221 | DELL M6220 | QTSC | 1BD22 | 11 | Access Device
417 | CN0XT800282981AA0001A16 | 10.90.6.222 | DELL 6248 | QTSC | 1BD22 | 40 | Access Device
418 | CN0XT800282988C10122A07 | 10.90.6.230 | DELL 6248 | QTSC | 1BD23 | 40 | Access Device
419 | CN0XT800282989AU0003A11 | 10.90.6.240 | DELL 6248 | QTSC | 1BD24 | 40 | Access Device
420 | CN0J7MFN2829827O0008A07 | 10.90.6.250 | DELL 7048R | QTSC | 1BA41 | 42 | Access Device
421 | BP0214050161 | 10.90.6.251 | Juniper EX4200-48T | QTSC | 1BA38 | 42 | Access Device
422 | BP0214030440 | 10.90.6.252 | Juniper EX4200-48T | QTSC | 1BM23 | 40 | Access Device
423 | 3C42470005 | 10.90.6.38 | HP 6120G | QTSC | 1BD38 | U2 | Access Device
424 | 6C724510DT | 10.90.6.39 | HP6125G | QTSC | 1BD38 | 12 | Access Device
425 | CN2829803U0243 | 10.90.7.100 | DELL M6220 | QTSC | 1AR11 | 11 | Access Device
426 | CN0XT800282981AA0121A16 | 10.90.7.110 | DELL 6248 | QTSC | 1BJ11 | 40 | Access Device
427 | CN0XT800282981AA0072A16 | 10.90.7.120 | DELL 6248 | QTSC | 1BJ12 | 40 | Access Device
428 | CN0XT800282981AA0056A16 | 10.90.7.130 | DELL 6248 | QTSC | 1BJ13 | 40 | Access Device
429 | CNFHC2S | 10.90.7.150 | DELL M6220 | QTSC | 1BJ15 | 1 | Access Device
430 | FOC105025TK | 10.90.7.151 | CISCO 3020 | QTSC | 1BJ15 | 11 | Access Device
431 | 3C4217014Z | 10.90.7.152 | HP 6120G | QTSC | 1BJ15 | 21 | Access Device
432 | 3C42170172 | 10.90.7.153 | HP 6120G | QTSC | 1BJ15 | 31 | Access Device
433 | YJ1ZGS62N795 | 10.90.7.160 | NORTEL | QTSC | 1BJ16 | 31 | Access Device
434 |  | 10.90.7.161 | Juniper EX4300-48T | QTSC | 1BJ16 | U40 | Access Device
435 | FOC1237545X | 10.90.7.170 | CISCO 3012 | QTSC | 1BJ17 | 1 | Access Device
436 | TW2016008N | 10.90.7.172 | HP 6120G | QTSC | 1BJ17 | 21 | Access Device
437 | 3C424800DN | 10.90.7.190 | HP 6120G | QTSC | 1BJ19 | 31 | Access Device
438 | 3C424100HP | 10.90.7.191 | HP 6120G | QTSC | 1BJ19 | 1 | Access Device
439 | TW2016008M | 10.90.7.194 | HP 6120G | QTSC | 1BJ19 | 21 | Access Device
440 | CN2829824H0228 | 10.90.7.200 | DELL M6220 | QTSC | 1BJ20 | 1 | Access Device
441 | CN2829821A0032 | 10.90.7.201 | DELL M6220 | QTSC | 1BJ20 | 11 | Access Device
442 | 3C424100FA | 10.90.7.202 | HP 6120G | QTSC | 1BJ20 | 21 | Access Device
443 | 3C424100HS | 10.90.7.203 | HP 6120G | QTSC | 1BJ20 | 31 | Access Device
444 | CN0J7MFN2829826M0007A07 | 10.90.7.210 | DELL 7048R | QTSC | 1BJ21 | U40 | Access Device
445 | CN0J7MFN2829826M0015A07 | 10.90.7.230 | DELL 7048R | QTSC | 1BJ23 | 40 | Access Device
446 | CN07D1GN2829829C0028A00 | 10.90.7.232 | DELL 8132F | QTSC | 1AU32 | U36 | Access Device
447 | CN07D1GN282982840003A00 | 10.90.7.240 | DELL 8132F | QTSC | 1BJ24 | 38 | Access Device
448 | BP0214250877 | 10.90.7.32 | Juniper EX4200-48T | QTSC | 1AU32 | 40 | Access Device
449 | TC3717270202; TC3717270128 | 10.90.8.100 | Juniper EX4600-40F | QTSC | 1BM11 | 41, 40 | Access Device
450 | CN0XT800282981AA0130A16 | 10.90.9.132 | DELL 6248 | QTSC | 1BD32 | 39 | Access Device
451 | CN0XT800282981AA0076A16 | 10.90.9.32 | DELL 6248 | QTSC | 1BD32 | 41 | Access Device
1 | AB4614AJ0004 | 10.73.2.112 | SRX3600-Common | QTSC | 1AL08 | 24-34 | FW
2 | 0240072010000013 | 10.74.0.2 | SA-4500 | QTSC | 1AR09 | 26-27 | FW
3 | AB4414AJ0008 | 10.73.2.212 | SRX3600-01 | QTSC | 1AU08 | 8-18 | FW
4 | AB4614AJ0002 | 10.73.2.214 | SRX3600-02 | QTSC | 1BD08 | 8-18 | FW
5 | AJ4614AK0035 | 10.73.2.246 | SRX650-IT | QTSC | 1AC38 |  | FW
6 | CG23628116HC | 10.73.2.106 | ARBOR-APS | QTSC | 1AC34 | 7 | FW
7 | DB1717AK6812 | 10.73.2.20 | SRX123Pay-Node0 | QTSC | 1BD30 | 36 | FW
8 | DB1717AK6800 | 10.73.2.21 | SRX123Pay-Node1 | QTSC | 1BD30 | 34 | FW
9 | AA4514AJ0013 | 10.73.2.217 | AC38_SRX_OVPN_N1 | QTSC | 1AC38 | 2 | FW
10 | AA0114AJ0009 | 10.73.2.216 | AC38_SRX_OVPN_N0 | QTSC | 1AC37 | 2 | FW
11 | CG23714010SC | 10.73.2.126 | AC36-U7-Arbor-SP | QTSC | 1AC36 | 7 | FW

## DC.VLAN Feedback
1) Public:
Src: 120.138.68.90
2) Private
Src: 10.40.49.11
DC.Sys Private
10.30.63.0/24
10.73.2.0/24
10.78.2.0/24
DC.Sys Public:
VPN:
49.213.64.10
49.213.64.13
103.23.156.134
103.23.156.138
DNS PRI:
61.28.224.34/27
DNS BK:
61.28.224.18/28
fortigate: 49.213.64.45, 49.213.64.49
còn của NOC là: DC.Noc Private: 10.80.x.x, 10.90.x.x